GUIDANCE NOTES

- The applicant is the person on whose behalf the work is being carried out e.g. the buildings’ owner.

- One copy of the Building Notice should be submitted.

- Where the proposed work includes the erection of a new building or extension the Building Notice shall be accompanied by the following : -

  - a block plan of not less than 1:1250 showing : -

    - the size and position of the building, or the building as extended, and its relationship to adjoining boundaries.

    - the boundaries of the curtilage of the building, or the building extended, and the size, position and use of every other building or proposed building within that curtilage.

    - the width and position of and street on or within the boundaries of the curtilage of the building or the building as extended.

    - the provision to be made for the drainage of the building or extension and location of existing drainage.

  - Where it is proposed to erect the building or extension over a sewer or drain identified as a public sewer, the applicant may be required to enter into a “Building Over” agreement with the appropriate Water Authority.

- Where the proposed work involves the insertion of insulation material into the cavity walls of a building this building notice shall be accompanied by a statement as to :

  - the name and type of insulation material used.

  - whether or not the insulating material is approved by the British Board of Agrement or conforms to a British Standard specification.

  - whether or not the installer is a person who is the subject of a British Standards Institution Certificate of Registration or has been approved by the British Board of Agrement for the insertion of that material.

- Where the proposed work involves the provision of an unvented hot water storage system, a Building Notice shall be accompanied by as statement as to :

  - the name, make, model and type of hot water storage system to be installed.

  - the name of the body, if any, which has approved or certified that the system is capable of performing in a way which satisfies the requirements of Part G of Schedule 1 to the Building Regulations 2010.

  - the name of the body, if any, which has issued any current registered operative identity card to the installer or proposed installer of the system.

- Local Authority Building Control (LABC) Service provides National Type Approval for a range of building types, building systems and major building elements where they are used repeatedly. If the work proposed or any part of it is subject to LABC Type approval please contact the office prior to submission. If there is any variation in this proposal from that shown on the approved plans attention should be drawn to it in a covering letter. Further information on LABC Type Approval is available from : LABC, Third Floor, 66 South Lambeth Road, London, SW8 1RL.

- A charge is payable to cover the cost of site inspections, being a single payment which covers all necessary site visits until satisfactory completion of the work in accordance with the Building Regulations.

- The Building Notice charge is calculated in accordance with the current charges regulations and is usually payable at the time of submission. A Guidance Notes on Charges is available on request. Cheques should be made to Doncaster Metropolitan Borough Council or DMBC.

- Subject to certain provision of the Public Health Act 1936 owners and occupiers of premises are entitled to have their private foul and surface water drains and sewers connected to the public sewers, where available. Special arrangements apply to trade effluent discharge. Persons wishing to make such connections must give not less than 21 days notice to the appropriate authority.

- These notes are for general guidance only, particulars regarding the deposit of plans are contained in Regulation 14 of the Building Regulations 2010.

- Persons proposing to carry out building work or make a material change of use of a building are reminded that permission may be required under the Town and Country Planning Acts. For enquiries telephone 01302 734871.

- A Building Notice shall cease to have effect three years after deposit to the Local Authority unless the work has been commenced before the expiry of that period, in accordance with Section 32 of the Building Act 1984.

- Building Regulations Application for premises designated for the purposes of The Regulatory Form (Fire Safety) Order 2006 must be made using the Full Plans procedure.

- Additional inspections of notifiable work will be required for which an additional charge, detailed in Schedule 2 Table B of the Building Control charges information will be made. This will NOT be required if the work is undertaken by an installer registered with a Competent Person Scheme.

- Notifiable Electrical Work exclude :

    - Repairs, replacements and maintenance work.

    - Extra power points, lighting points or other alterations to existing circuits except those in kitchen, bathroom or outdoors.

If you have any queries please either telephone 01302 734848 or e-mail building.control@doncaster.gov.uk

# Text boxes

BUILDING CONTROL

BUILDING NOTICE APPLICATION FORM

GUIDANCE NOTES